The washer shall complete a validated cleaning cycle.

The washer shall alarm upon cycle failure.

The washer shall record cycle data.

The system shall maintain pressure during operation.

The safety interlock shall prevent unsafe operation.

The operator shall complete training before use.