# Installation Qualification Protocol

| Project | CQVIP Demonstration |
| --- | --- |
| Asset | Decontamination Washer |
| Document Type | CQVIP-Installation-001 |
| Document Number | CQVIP-CQVIP-Installation-001-001 |
| Revision | 00 |
| Status | Draft |
| Prepared By | Gary Joanis |
| Approved By | QA Manager |
| Date | 2026-07-03 |

# Document Information

Project: CQVIP Demonstration

Document Number: CQVIP-Installation-001

Revision: 00

Status: Draft

Prepared By: Gary Joanis

Approved By: QA Manager

Date: 2026-07-03

# Approval Signatures

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Prepared By |  |  |  |
| Reviewed By |  |  |  |
| Quality Assurance |  |  |  |
| System Owner |  |  |  |

# Purpose

The purpose of this Installation Qualification (IQ) protocol is to verify that the equipment has been installed according to approved drawings, specifications, and manufacturer recommendations.

# Scope

This protocol applies to the installation qualification of Decontamination Washer.

# Responsibilities

| Role | Responsibility |
| --- | --- |
| Validation | Execute testing and document results. |
| Engineering | Provide technical support and system knowledge. |
| Quality Assurance | Review and approve protocol execution. |
| Operations | Support operation of the equipment during testing. |

# Prerequisites

☐ Approved requirements are available.

☐ Applicable procedures are available.

☐ Required personnel are trained.

☐ Required equipment and instruments are available.

☐ Safety requirements have been reviewed.

# Equipment / Instruments Required

| Equipment / Instrument | ID | Calibration Required |
| --- | --- | --- |
| Calibrated Instrument |  | Yes |
| Data Logger / Recorder |  | As Applicable |
| Computer / Workstation |  | No |
| Approved Procedure |  | No |

# Safety Precautions

• Follow applicable safety procedures.

• Wear required PPE.

• Do not bypass safety interlocks.

• Report deviations or unsafe conditions immediately.

# Installation Verification

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Verify equipment identification and asset tag. | Result meets acceptance criteria. |  |  |
| 2 | Verify equipment location and installation area. | Result meets acceptance criteria. |  |  |
| 3 | Verify utilities are connected as required. | Result meets acceptance criteria. |  |  |
| 4 | Verify major components are installed. | Result meets acceptance criteria. |  |  |
| 5 | Verify vendor documentation is available. | Result meets acceptance criteria. |  |  |
| 6 | Verify calibration status of applicable instruments. | Result meets acceptance criteria. |  |  |
| 7 | Verify applicable drawings are available. | Result meets acceptance criteria. |  |  |
| 8 | Verify software or control system version, if applicable. | Result meets acceptance criteria. |  |  |

# Approval Signatures

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Prepared By |  |  |  |
| Reviewed By |  |  |  |
| Quality Assurance |  |  |  |
| System Owner |  |  |  |