# Operational Qualification Protocol

| Project | CQVIP Demonstration |
| --- | --- |
| Asset | Decontamination Washer |
| Document Type | CQVIP-Operational-001 |
| Document Number | CQVIP-CQVIP-Operational-001-001 |
| Revision | 00 |
| Status | Draft |
| Prepared By | Gary Joanis |
| Approved By | QA Manager |
| Date | 2026-07-03 |

# Document Information

Project: CQVIP Demonstration

Document Number: CQVIP-Operational-001

Revision: 00

Status: Draft

Prepared By: Gary Joanis

Approved By: QA Manager

Date: 2026-07-03

# Approval Signatures

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Prepared By |  |  |  |
| Reviewed By |  |  |  |
| Quality Assurance |  |  |  |
| System Owner |  |  |  |

# Purpose

The purpose of this Operational Qualification (OQ) protocol is to verify that the equipment performs as intended throughout its specified operating ranges.

# Responsibilities

| Role | Responsibility |
| --- | --- |
| Validation | Execute testing and document results. |
| Engineering | Provide technical support and system knowledge. |
| Quality Assurance | Review and approve protocol execution. |
| Operations | Support operation of the equipment during testing. |

# Prerequisites

☐ Approved requirements are available.

☐ Applicable procedures are available.

☐ Required personnel are trained.

☐ Required equipment and instruments are available.

☐ Safety requirements have been reviewed.

# Equipment / Instruments Required

| Equipment / Instrument | ID | Calibration Required |
| --- | --- | --- |
| Calibrated Instrument |  | Yes |
| Data Logger / Recorder |  | As Applicable |
| Computer / Workstation |  | No |
| Approved Procedure |  | No |

# Safety Precautions

• Follow applicable safety procedures.

• Wear required PPE.

• Do not bypass safety interlocks.

• Report deviations or unsafe conditions immediately.

# Requirement Verification

# URS-001

Requirement:
The occupant limit for the pre-gown room (606) shall be 1 personnel.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Ensure compliance with occupancy limits to maintain controlled environment integrity.

# URS-002

Requirement:
The occupant limit for the gown room (607) shall be 1 personnel.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Ensure compliance with gowning procedures and personnel limits.

# URS-003

Requirement:
The occupant limit for the clean room (609) shall be 2 personnel.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Ensure compliance with occupancy limits during operations.

# URS-004

Requirement:
The occupant limit for the equipment drying pass room (610) shall be 1 personnel.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Monitoring of personnel access and occupancy in the drying pass room.

# URS-005

Requirement:
The occupant limit for the equipment pass through room (611) shall be 1 personnel.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Ensure compliance with occupancy limits during operational procedures.

# URS-006

Requirement:
Supply side ventilation to classified cleanroom suites shall have terminal HEPA filtration installed, capable of

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: HEPA filter integrity testing and airflow validation

# URS-007

Requirement:
The system shall maintain non-viable airborne particulate conditions within Grade C and Grade D (per EU

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Monitoring and testing of airborne particulate levels in Grade C and Grade D areas.

# URS-008

Requirement:
The system shall maintain viable airborne particulate conditions within Grade C and Grade D (per EU GMP

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Monitoring and testing of airborne particulate levels in Grade C and Grade D areas.

# URS-009

Requirement:
The system shall maintain the air changes per hour according to Appendix C.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Monitoring and recording of air changes per hour (ACH) must be implemented and validated.

# URS-010

Requirement:
The washroom suite shall be clearly labeled.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and documentation review

# URS-011

Requirement:
Utility connections requiring less frequent use shall sit within 72” from the floor.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and measurement of utility connections' height from the floor.

# URS-012

Requirement:
All rooms shall be equipped with a fire protection system.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Fire protection system functionality and compliance with local regulations.

# URS-013

Requirement:
All cleanroom light fixtures shall be enclosed to be protected against the elements in the room.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and functional testing of light fixtures to ensure they are properly enclosed and operational.

# URS-014

Requirement:
The Decontamination Washer Suite shall include the CNC Washroom (Room 605).

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Cleaning validation must confirm the effectiveness of the decontamination process for all product contact equipment in the CNC Washroom.

# URS-015

Requirement:
The Decontamination Washer Suite shall include the Pre-Gown Room (Room 606).

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Ensure that the Pre-Gown Room is designed to prevent contamination and facilitate proper gowning procedures.

# URS-016

Requirement:
The Decontamination Washer Suite shall include the Gown Room (Room 607).

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Ensure that the Decontamination Washer Suite, including the Gown Room, is designed to prevent cross-contamination and maintain cleanliness.

# URS-017

Requirement:
The Decontamination Washer Suite shall include the Utility Room (Room 608).

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Ensure that the Utility Room (Room 608) is designed and equipped to support the decontamination process effectively.

# URS-018

Requirement:
The Decontamination Washer Suite shall include the Glassware Package (Room 609).

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Cleaning validation must confirm the effectiveness of the decontamination process for the Glassware Package in Room 609.

# URS-019

Requirement:
The Decontamination Washer Suite shall include the Equipment Drying Room (Room 610).

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Cleaning validation must confirm the effectiveness of the decontamination process for all product contact equipment.

# URS-020

Requirement:
The Decontamination Washer Suite shall include the Equipment Pass Through (Room 611).

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Cleaning validation must be performed to confirm the effectiveness of the decontamination process for the Equipment Pass Through.

# URS-021

Requirement:
The Decontamination Washer Suite shall include the CNC Clean Storage Room (Room 612).

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Cleaning validation must confirm the effectiveness of the cleaning procedure for all product contact equipment, including the CNC Clean Storage Room.

# URS-022

Requirement:
The unloading chamber door for the decontamination washer shall be accessible.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and functional testing of the unloading chamber door to ensure it is accessible and operational.

# URS-023

Requirement:
The Decontamination Washer Suite shall have minimized dead spaces such as joints, crevices, and cavities in which the product or moisture can settle and lead to cross-contamination or germination.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and cleaning validation protocols should confirm the absence of dead spaces.

# URS-024

Requirement:
All cleanroom elements, components and exposed surfaces shall be designed in such a way that the surfaces are level and smooth.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and surface testing for smoothness and levelness.

# URS-025

Requirement:
All cleanroom elements, components and exposed surfaces shall be designed in such a way that the surfaces are airtight or sealed.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Design review and testing for airtightness and sealing integrity.

# URS-026

Requirement:
All cleanroom elements, components and exposed surfaces shall be designed in such a way that the surfaces are free of protruding sharp edges.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Design review and inspection of cleanroom elements and surfaces.

# URS-027

Requirement:
All cleanroom elements, components and exposed surfaces shall be designed in such a way that the surfaces are non-particulate generating under normal conditions with regular maintenance.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Design reviews and surface testing for particulate generation.

# URS-028

Requirement:
The rooms shall have a boundary that distinguishes between higher and lower classification.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Design Qualification (DQ) to confirm that the room boundaries are appropriately defined and compliant with classification requirements.

# URS-029

Requirement:
The surfaces of the cleanroom and components shall be resistant against Bachem approved cleaning solutions and sanitizing agents.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Surface material testing against Bachem approved cleaning solutions and sanitizing agents.

# URS-030

Requirement:
Clean room walls shall be dry wall.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and documentation of installation.

# URS-031

Requirement:
Ceiling panels shall have the same engineered features as the wall panels, with pre-cut openings able to accommodate the installation of light fixtures, HEPA filters, etc.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Ensure that ceiling panels are designed and manufactured to the same specifications as wall panels, including pre-cut openings.

# URS-032

Requirement:
All joints shall be flush, smooth and cleanable.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and cleaning validation

# URS-033

Requirement:
All corners between walls and from walls to permanent equipment fixtures in the space shall be coved.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and measurement of coved corners

# URS-034

Requirement:
All wall surfaces (including joints, seals, etc.) shall not emit particulates.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and particulate monitoring

# URS-035

Requirement:
All circuits entering and leaving shall be provided with grounding.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and testing of grounding connections

# URS-036

Requirement:
The clearance height from the floor to the bottom of the clean room suspended ceiling shall be a minimum of 8ft.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Measurement of clearance height from the floor to the bottom of the clean room suspended ceiling.

# URS-037

Requirement:
The cleanroom light fixtures shall be installed flush with the ceiling.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and cleaning validation of the area around the light fixtures.

# URS-038

Requirement:
Light fixtures which are suitable for cleanroom operations shall be resistant against humidity.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Testing for humidity resistance and compliance with cleanroom standards.

# URS-039

Requirement:
All floors shall be coated with a static-dissipative epoxy.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and testing of static-dissipative properties.

# URS-040

Requirement:
Coving shall be provided on wall connections.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and measurement of coving installation.

# URS-041

Requirement:
The total coving piece shall rise up at least 2”.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Physical measurement of the coving piece to ensure it rises at least 2 inches.

# URS-042

Requirement:
The coving radius shall be 1 to 1.25”.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and measurement of coving radius

# URS-043

Requirement:
Doors shall be 1- or 2-winged, with three door hinges and without a door saddle.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and functional testing of door operation.

# URS-044

Requirement:
Every clean room door shall have an automatic door lock and shall be equipped with a window.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and functional testing of the automatic door lock and window integrity.

# URS-045

Requirement:
All doors shall be equipped with an elastic door frame seal installed circumferentially on three sides.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and functional testing of door seals.

# URS-046

Requirement:
Sealing with the floor shall be achieved with a drop-down seal.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: The drop-down seal must be verified for its effectiveness in maintaining the integrity of the packaging.

# URS-047

Requirement:
The doors shall be adapted to the adjacent cleanroom walls.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and measurement of door fit and sealing against cleanroom walls.

# URS-048

Requirement:
The doors shall be installed flushed to the adjacent cleanroom walls.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and measurement to ensure doors are flush with adjacent cleanroom walls.

# URS-049

Requirement:
The gap between the bottom of the door and the top edge of the finished floor shall be between 3 and 5 mm.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Measurement of the gap using appropriate tools (e.g., calipers or gap gauges) to ensure compliance with specified dimensions.

# URS-050

Requirement:
The door from the CNC Washroom to the first airlock (Gowning Room 606) shall be accessed by authorized personnel (align with existing security system).

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Access logs and authorization lists should be reviewed to ensure compliance with access control requirements.

# URS-051

Requirement:
The interior doors of the gowning airlock and the material/equipment airlock shall be interlocked.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Interlock functionality must be tested to ensure that doors cannot be opened simultaneously.

# URS-052

Requirement:
After opening one door, the subsequent doors shall be interlocked.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Interlock functionality must be tested to ensure that subsequent doors cannot be opened until the previous door is closed.

# URS-053

Requirement:
Once all doors are closed, a differential pressure setpoint shall come into range before another door shall be opened.

Objective:
Verify pressure remains within specification.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Connect calibrated pressure gauge. | Result meets acceptance criteria. |  |  |
| 2 | Run operating cycle. | Result meets acceptance criteria. |  |  |
| 3 | Record pressure. | Result meets acceptance criteria. |  |  |
| 4 | Compare against URS. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Pressure remains within specification.

Qualification Phase: Ensure that differential pressure setpoint is achieved before door operation.

# URS-054

Requirement:
All doors shall be equipped with panic locks as required by NFPA and building code.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Ensure panic locks are installed and functional as per NFPA and building code requirements.

# URS-055

Requirement:
The doors shall be unlocked via a tamper-proof emergency push button (on both sides of the escape door).

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Ensure that the emergency push button is tamper-proof and functions correctly from both sides of the escape door.

# URS-056

Requirement:
The opening of all doors shall also work in the event of a power outage.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Functional testing during power outage scenarios to ensure doors can be opened manually or through backup systems.

# URS-057

Requirement:
The airlock control components shall be visible from the cleanroom wall.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection of airlock control components from the cleanroom wall to ensure cleanliness and functionality.

# URS-058

Requirement:
Piping routes inside the cleanroom area shall be kept short and installed vertically wherever possible.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Ensure that piping routes are designed and installed according to the specified requirements.

# URS-059

Requirement:
When needed, brackets shall be used such that the piping is kept away from the wall.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and measurement of distance from wall to piping.

# URS-060

Requirement:
The furniture in the airlocks shall be made of stainless steel where it is possible.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Material specifications and compliance with GMP standards must be verified during design qualification.

# URS-061

Requirement:
All other fittings shall be cleanroom compatible.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and cleaning validation results.

# URS-062

Requirement:
For electrical and signal cables, empty conduits shall be integrated into the wall panels or into the door structures.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Ensure that conduits are properly integrated to prevent interference with electrical and signal integrity.

# URS-063

Requirement:
All surfaces shall be cleanable (wipe cleaning), flat and smooth, sealed, and abrasion-resistant.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Cleaning validation and effectiveness confirmation

# URS-064

Requirement:
The Washroom (Room 605) shall have Purified Water POU.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Ensure that the Purified Water Point of Use (POU) system meets the specified design and operational requirements.

# URS-065

Requirement:
The Glassware Package Room (Room 609) shall have electrical outlets.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Ensure electrical outlets are installed and functioning properly.

# URS-066

Requirement:
Electricity shall be provided in all rooms.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Ensure consistent and reliable electricity supply to all rooms to support equipment operation and environmental controls.

# URS-067

Requirement:
The light inside the cleanroom and material/gowning airlocks shall be provided with a dedicated light switch inside each space.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and functional testing of light switches.

# URS-068

Requirement:
The clean room area including airlocks shall be provided with low voltage lighting control system.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: The low voltage lighting control system must be verified to ensure it operates effectively within the clean room environment.

# URS-069

Requirement:
All graded rooms shall have a DicksonOne monitoring instrument.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Ensure continuous monitoring of environmental conditions in graded rooms.

# URS-001

Requirement:
The laboratory shall comply with, but not be limited to, the following regulations and guidelines:

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Ensure that all electronic records and signatures comply with 21 CFR Part 11 requirements.

# URS-002

Requirement:
UR1 | Laboratory shall be at least 250 square feet and not more than 1000 square feet. | Medium | Provides sufficient space for up to two biosafety cabinets, three incubators, one refrigerator, and adequate bench space while minimizing unnecessary footprint

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Ensure the laboratory space meets the specified dimensions and layout requirements.

# URS-003

Requirement:
UR2 | Laboratory must 1-2 entrances/exits. | An entrance/exit is required for use of the room.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Ensure that the design includes 1-2 entrances/exits as specified in the URS.

# URS-004

Requirement:
UR | Critical activities shall be performed in qualified biosafety cabinets or laminar airflow hoods | High | Ensures appropriate aseptic environments to maintain sample integrity and contamination prevention.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Ensure that biosafety cabinets or laminar airflow hoods are qualified and maintained according to established protocols.

# URS-005

Requirement:
UR | Room shall | High | Minimizes cross-contamination and supports GMP best practices.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Risk assessment and validation of cleaning procedures and HVAC systems.

# URS-006

Requirement:
UR | Temperature shall be maintained between 15-25°C with monitoring and alarms | Medium | Supports equipment function, personnel comfort, and consistent test conditions.

Objective:
Verify the alarm activates under the required condition.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Configure the system for normal operation. | Result meets acceptance criteria. |  |  |
| 2 | Create the specified alarm condition. | Result meets acceptance criteria. |  |  |
| 3 | Verify the alarm activates. | Result meets acceptance criteria. |  |  |
| 4 | Verify acknowledgement and recovery. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Alarm activates correctly.

• Alarm is logged.

• System recovers after acknowledgement.

Qualification Phase: Temperature monitoring system must be validated to ensure it operates within specified limits.

# URS-007

Requirement:
UR | Relative humidity shall be monitored

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Continuous monitoring with alarms for deviations

# URS-008

Requirement:
UR | Ceilings shall be non-porous. | Medium | Prevents harbouring of microbes.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and microbial testing of surfaces.

# URS-009

Requirement:
UR | Flooring shall be compatible to support the use of detergents and disinfectants that are necessary for cleaning. | High | Facilitates effective cleaning and disinfection.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Cleaning validation and effectiveness testing of the flooring material.

# URS-010

Requirement:
UR1 | Door(s) shall be self-closing | Medium | Helps maintain

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and functional testing of door operation.

# URS-011

Requirement:
UR1 | Windows shall be included in doors. | Low | Allows visibility into the lab, reducing unnecessary entry.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection of the installed doors to confirm the presence of windows.

# URS-012

Requirement:
UR1 | Safety signage shall be posted as appropriate | Communicates hazards and required behaviors to personnel.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Ensure that safety signage is visible, legible, and appropriately placed in all relevant areas.

# URS-013

Requirement:
UR | Biohazard waste shall be segregated | Medium | Prevents contamination.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Regular audits and inspections of waste segregation practices.

# URS-014

Requirement:
UR | Countertops shall be constructed of non-porous, chemical-resistant, and cleanable materials (e.g., epoxy resin, phenolic resin, or stainless steel). | Prevents absorption of contaminants and supports effective cleaning and disinfection.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Material testing and cleaning validation

# URS-015

Requirement:
UR | Shelving shall be constructed of cleanable, and designed to minimize dust accumulation (e.g. enclosed cabinets). | Medium | Reduces particulate and microbial contamination risks and supports housekeeping.

Objective:
Verify the requirement is satisfied.

| Step | Action | Expected Result | Actual Result | Pass / Fail |
| --- | --- | --- | --- | --- |
| 1 | Execute functional test. | Result meets acceptance criteria. |  |  |
| 2 | Observe system behavior. | Result meets acceptance criteria. |  |  |
| 3 | Document results. | Result meets acceptance criteria. |  |  |

Acceptance Criteria:

• Requirement successfully demonstrated.

Qualification Phase: Visual inspection and cleaning validation results.

# Approval Signatures

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Prepared By |  |  |  |
| Reviewed By |  |  |  |
| Quality Assurance |  |  |  |
| System Owner |  |  |  |